SECTION 688	-	FIBRE REINFORCED POLYMER COMPOSITE STRENGTHENING OF CONCRETE STRUCTURES

##This section cross-references Sections 160, 175, 630, 631, 686, 687 and 689.

If any of the above sections are relevant, they should be included in the specification.

If any of the above sections are not included in the specification, all references to those sections should be struck out, ensuring that the remaining text is still coherent:

688.01	GENERAL

This section specifies the requirements for the supply and quality of materials, surface preparation, trial and permanent installation, relevant inspection and testing and acceptance criteria for the strengthening of concrete structures using Fibre Reinforced Polymer Composite (FRPC) strengthening systems.

The application of anti-carbonation coatings, crack repairs and cementitious patch repairs of concrete required as part of the FRPC strengthening system installation work shall be undertaken in accordance with the requirements of Sections 686, 687 and 689.

688.02	STANDARDS

(a)	Australian Standards

AS 1627	Metal finishing - Preparation and pretreatment of surfaces – Method selection guide

AS/NZS 2312	Guide to the protection of structural steel against atmospheric corrosion by the use of protective coatings.

(b)	Additional Documents

BS 6319	Testing of resin and polymer/cement compositions for use in construction

Section 175 details the relevant references to these documents.

688.03	DEFINITIONS

Fibre Reinforced Polymer Composite (FRPC):  FRPC repair and strengthening systems are a combination of fibre reinforcing materials and resins such as epoxies and other adhesive materials, which can act in composite with a concrete structure to enhance its capacity and extend its life.  The role of the resin is to provide the adhesive bond onto the concrete surface and facilitate the transfer of stresses to and from the fibres.

Fibre Reinforced Polymer (FRP):  Carbon, aramid or glass fibres which are used to produce the various types of fibre reinforced polymer plates, strips, rods, sheets and fabric materials by impregnating or saturating them with epoxy resins or other adhesive materials as part of a complete manufacturing process.

688.04	MATERIALS

(a)	General

HP	The Contractor shall submit details of the proposed FRPC strengthening system including information on the proposed resins, primers, putty fillers, saturants, adhesives and reinforcing fibres, substrate preparation, method of application, curing accelerating measures, equipment, and operators to the Superintendent for review not less than fourteen (14) days prior to the commencement of the FRPC strengthening works.  FRPC strengthening and repair works shall not take place until the Contractor's proposed materials and procedures have been reviewed by the Superintendent.

All constituent materials used for the FRPC strengthening systems shall be tested to national or international standard test methods.

(b)	Material Properties

The constituent materials of FRPC strengthening systems shall include all compatible resins, primers, putty fillers, saturants, adhesives and reinforcing fibres as required.  All property and strength requirements of resin and adhesive materials shall be determined from testing in accordance with BS 6319.

All FRPC materials shall be used in accordance with the manufacturer’s recommendations, material safety data sheets, and as specified in this section.

Material details shall include documented evidence of previous performance, relevant test results and certificates of compliance traceable to the proposed FRPC strengthening system(s), which shall not be more than twenty-four (24) months old.

The FRPC materials shall have the following properties:

(i)	Carbon Fibre Laminate (Carbon Fibre Reinforced with Epoxy Matrix)

The carbon fibre laminate and rod material shall be a pre-fabricated, pultruded section, specifically designed for adding tensile strength as part of a compatible, load transferring, bonded system.

The carbon fibre laminate shall possess the following properties:

(1)	Available in a range of modulii and strength grades, widths and thicknesses and diameter

(2)	Elastic Modulus of laminate not less than 165,000 MPa

(3)	Elastic modulus of rod not less than 140,000 MPa

(4) Tensile Strength not less than 2,400 MPa

(5)	Elongation at Break not less than 1.2%

(6)	Volumetric fibre fraction of not less than 68%

(7)	Temperature Resistance - between 150°C and 500°C

(8)	Glass Transition Point (Tg) – minimum temperature value of 62°C.

(ii)	Carbon Fibre Fabric

The fibre fabric materials shall be pre-woven into sheets, specifically designed for adding strength as part of a compatible, load transferring, bonded system.

High strength carbon fibre fabric material shall possess the following properties:

(1)	Elastic Modulus not less than 640,000 MPa

(2)	Tensile Strength not less than 2,400 MPa

(3)	Elongation at Break not less than 0.38%

(4)	Thickness for static design not less than 0.047 mm (per 100 g/m²)

(5)	Fibre density not less than 2.0 g/m³.

(iii)	Adhesive for Carbon Fibre Laminate and Rod

The adhesives shall be a thixotropic resin or paste used to bond FRP laminate or rod to the concrete substrate and to provide the required shear load path between the concrete substrate and the FRP reinforcing laminate or rod.

If multiple layers of FRP laminates are required, the layers shall be bonded together using the selected adhesive.

The adhesive for the carbon fibre laminate or rod shall possess the following properties:

(1)	Adhesive Strength not less than 3.5 MPa or failure in concrete

(2)	Shear Strength not less than 14 MPa or concrete failure

(3)	Compressive Strength not less than 55 MPa at 7 days

(4)	Tensile Strength not less than 17 MPa at 7 days

(5)	Static E-Modulus not less than 9,500 MPa

(6)	Coefficient of Thermal Expansion not more than 9 x 10-5 per °C

(7)	Glass Transition Point (Tg) - minimum temperature value of 62°C.

(iv)	Saturating Resin (for Carbon Fibre Fabric)

The saturating resin shall be used to impregnate the reinforcing fibre fabric to fix it in place and shall be capable of providing a shear load path to effectively transfer the load between fibres.

The saturating resin shall also serve as the adhesive for wet lay-up systems, and shall be capable of providing a shear load path between the previously primed concrete substrate and the FRP materials.

The saturating resin shall possess the following properties:

(1)	Adhesive Strength not less than 1.5 MPa or failure in concrete

(2)	Tensile Strength not less than 24 MPa at 7 days

(3)	Flexural E-Modulus not less than 3,500 MPa (cured at 7 days)

(4)	Flexural Strength not less than 35 MPa at 7 days

(5)	Compressive Strength not less 60 MPa at 7 days

(6)	Viscosity not greater than 4,500 cps @ 25°C (unless part of a compatible carbon fibre fabric strengthening system)

(7)	Application Temperature between 5°C and 35°C for both ambient and the substrate.

(v)	General Resin Requirements

Resins used as part of FRPC strengthening systems including primers, putty fillers, saturants and adhesives shall also have the following characteristics:

(1)	compatibility with and adhesion to the concrete substrate;

(2)	compatibility with and adhesion to the FRP materials;

(3)	resistance to in-service environmental effects, including but not be limited to moisture, salt water, temperature extremes and chemicals normally associated with exposed concrete;

(4)	filling ability;

(5)	workability;

(6)	pot life consistent with the application;

(7)	compatibility with and adhesion to the reinforcing fibre;

(8)	development of appropriate mechanical properties for the FRPC.

(vi)	Primer

The primer shall be a very low viscosity resin used to penetrate the concrete surface and provide an improved adhesive bond for the saturating resin or adhesive.  The primer shall have properties similar to the saturating resin in Clause 688.04(b)(iv).

(vii)	Putty Filler

The levelling putty filler shall be a thixotropic paste used to fill small voids, including bug holes, in the concrete substrate, to provide a smooth surface to which the FRPC system bonds and also prevent bubbles from forming during curing of the saturating resin.  The levelling putty filler shall have properties similar to the adhesive for carbon fibre laminate in Clause 688.04(b)(iii).

(c)	Handling and Storage of Materials

Adhesives and other resins shall be stored in dry conditions not exposed to direct sunlight, in strict accordance with the material manufacturer’s data sheet requirements and within the manufacturer’s specified maximum and minimum temperature range.  Materials shall remain in their original, sealed containers until time of use.

All material shall be brought to site in the original unopened cans clearly labelled with the appropriate manufacturer’s name, product type, reference number and batch number.  Materials stored beyond the manufacturer’s recommended shelf life shall not be used.  The Contractor shall not incorporate into the works any product that is within 30 days of its expiry date and/or shelf life.

The Contractor shall provide, for each batch of FRPC system material, a copy of the manufacturer’s information as specified below:

(i)	manufacturer’s name and address;

(ii)	product reference;

(iii)	batch number of identification;

(iv)	quantity manufactured in the batch;

(v)	certificate of date of manufacture.

FRP system materials including adhesives and resins shall be used in order of manufacture.

FRP plates, laminates, strips or rods shall be supplied and stored on site in a manner that prevents damage or contamination.  FRP plates, laminates, strips or rods shall be free from unintended curves, bows, wraps, undulations or twists.  FRP plates, laminates, strips and rods shall be handled with clean gloves under dry conditions, and touching of ready for bonding surfaces without protective plastic shall be avoided.  Where FRP materials are fitted with protective plastic or other layers to ensure a clean surface, the protective plastic shall be removed immediately prior to application and touching of the surface shall be avoided.

FRP fabric sheets or rolls shall be kept free from any contamination.  The FRP fabric sheets shall be handled carefully and shall be free from wraps, twists or fibre misalignment.  Any protective plastic or other layers shall be removed immediately prior to application.  They shall be stored either by being rolled to a diameter greater than or equal to the original roll packaging or by being dry stacked after cutting and shall be protected from dust and moisture.

If the surface of an FRP component is contaminated, the component shall not be incorporated into the works unless it has been cleaned to the satisfaction of the Superintendent.

All FRP materials shall be checked for possible damage resulting from transportation, handling or incorrect cutting.  Handling and preparation precautions shall be in accordance with the material manufacturer’s recommendations and material data sheets.

The Contractor shall maintain records showing which elements were treated with each batch of FRPC system material.

688.05	SYSTEM INSTALLATION

(a)	Concrete Material Properties

Where not provided, the Contractor shall determine the in situ compressive strength and the direct tension (pull off) strength for each type of concrete surface to be strengthened with FRP.

The minimum acceptable in situ concrete compressive strength determined in accordance with AS 1012.14 shall be 17 MPa and the minimum acceptable concrete pull-off strength shall be 1.5 MPa as measured in accordance with AS 1012.24.

The Contractor shall supply for review by the Superintendent a copy of all test results including photographic records within one week of undertaking such testing, prior to proceeding with the FRPC strengthening works.

(i)	In situ Compressive Strength as determined from Concrete Cores

Concrete test cores shall be cut from a structural element representing a group of elements and each type of concrete surface to be strengthened with FRP.  A minimum of three cores per sample area shall be tested in accordance with AS 1012.14.  Each core shall be 75 mm diameter and a minimum of 150 mm long.  All cores shall be clearly labelled to identify them with the structural element and location they represent.

Core samples shall be located with a calibrated cover meter capable of detecting the presence of steel reinforcement with an accuracy of ±1 mm at a depth of 25 mm, to avoid cutting through the reinforcing steel. Drilling cores in areas of high stress, or creating core holes below the waterline shall be avoided. Where cores are cut from concrete decks and slabs, core locations shall be remote from wheel paths. Cores containing steel reinforcement shall not be tested.

The Contractor shall obtain the approval of the Superintendent prior to undertaking any extraction of core samples.

(ii)	Concrete Pull-Off Strength

The Contractor shall conduct partially cored direct pull-off tests of a structural element representing a group of elements and each type of concrete surface to be strengthened with FRP. A minimum of three cores per sample area shall be tested.

The pull-off testing shall be undertaken in accordance with the requirements of AS 1012.24 using 50 mm diameter aluminium dollies only.  Dollies with a diameter smaller than 50 mm shall not be allowed.

The cored holes shall be cleaned and repaired with a suitable shrinkage compensating cementitious repair material to the original surface profile in accordance with the requirements of Section 689.  The exposed surface of the repaired breakouts or core holes shall be similar in texture and colour to the surrounding concrete.

(b)	Concrete Surface Preparation

Concrete surfaces shall be dry, and be free from all dust, oil (e.g. from form release oils), grease, laitance and loose particles, remnants of curing compounds, waxes, coatings, impregnations, organic contaminants (i.e. moss, algae etc.) and other bond inhibiting materials.  Methods used to prepare the concrete surface shall include wet or dry abrasive blasting, wire brushing, abrasion with angle grinder, or by high pressure water jet blasting as required to provide a clean sound surface.

Areas of persistent contamination shall be removed from the surface by the use of appropriate solvents or detergents followed by washing with potable water in accordance with AS 1627.1.  The surfaces shall then be allowed to dry thoroughly.

The surface preparation process shall be managed to ensure that all abrasive materials and debris emissions shall be contained, collected and removed from site and disposed of in compliance with Environment Protection Authority and Local Municipal Authority’s requirements.

Abrasive blasting shall be carried out in accordance with the applicable Work Health and Safety laws and appropriate regulations imposed by the local government authority and the EPA.

Abrasive blast cleaning shall be carried out in accordance with AS 1627.4.  Dust from the surface preparation shall be removed by blowing with dry compressed air or other suitable means.  The surface shall be vacuumed before the application of the FRP material.

The surface layer of the concrete shall be removed to expose small particles of well-bound aggregate such that the roughness to be achieved lies between an amplitude of 0.5 mm to 1 mm, with a surface presenting similar to 60-grit sandpaper.  The surface shall not be roughened excessively.

HP	Prior to the commencement of full-scale surface preparation procedures, the Contractor shall first prepare a representative sample area for each type of concrete surface to be approved by the Superintendent.  The sample area shall be prepared in accordance with the requirements of this section and shall be used as a reference standard exhibiting a satisfactory prepared surface for the duration of the works.

The following shall be filled with a suitable epoxy putty adhesive, compatible with the FRPC strengthening system:

(i)	blow holes

(ii)	areas of honeycombing

(iii)	loose surface layers and weak concrete

(iv)	cracks of width less than 0.20 mm for reinforced concrete members

(v)	cracks of width less than 0.10 mm for pre-cast prestressed elements and reinforced concrete structures located in marine or other saline environments

(vi)	other defects, either revealed by a grinding process or exposed by other surface preparation methods.

If the surface of the concrete is weak, more material shall be removed, and the amount removed and refilled shall be sufficient to result in a strong, sound substrate suitable for the intended FRPC strengthening system.  Where necessary, projecting fins, rough spots, sudden steps or other surface irregularities shall be ground to less than 1 mm by light abrasion with an angle grinder or filled with a suitable epoxy putty adhesive to provide a smooth concrete surface.

The cored holes shall be cleaned and repaired with a suitable shrinkage compensating cementitious repair material to the original surface profile in accordance with the requirements of Section 689.  The exposed surface of the repaired breakouts or core holes shall be similar in texture and colour to the surrounding concrete.

The Contractor shall determine the moisture content of each type of concrete surface to be strengthened with FRP using a commercially available calibrated moisture meter.  At least one test per sample area shall be carried out immediately prior to the commencement of each day’s FRPC strengthening works to ensure that the concrete moisture content is less than 10%,

Where fibre fabric is to be wrapped around corners, the corners shall be rounded to a minimum radius of 25 mm to avoid local damage to the fabric.

The unevenness of the concrete substrate surface shall be such that the gap under a 2 m straightedge does not exceed 4 mm.  The general unevenness with respect to a 0.3 m straightedge shall not exceed 1 mm.  Any out of tolerance areas shall be rectified with a suitable rapid setting levelling putty filler.

Repair of cracks shall be undertaken in accordance with the requirements of Clause 688.10.Cementitious repairs undertaken in accordance with the requirements of Section 689 shall be cured for at least 14 days prior to undertaking any FRPC strengthening application.

FRPC strengthening system application may be undertaken earlier than 14 days, but no earlier than 7 days, if it can be established using a commercially available calibrated moisture meter that the moisture content of cementitious repairs is less than 10%, and provided the concrete surface is dry at the time of application.  A trial application of the overall FRPC system to check the suitability of the surface, the surface preparation method, method of application and other requirements shall be undertaken as set out in Clause 688.06.

The concrete surface requirements of this clause shall apply to all types of FRPC strengthening systems including FRP plate, laminate, strip, fabric sheets and near surface mounted (NSM) FRP rods or strips.

(c)	Primer and Epoxy Putty Requirements

A primer shall be applied to the prepared concrete substrate.  The primer shall be uniformly applied to all areas of the prepared concrete surface using brush or roller, in accordance with the manufacturer’s recommendations and specified rate of coverage.  Airless spray equipment can be used provided thorough back rolling is undertaken to work the primer into the concrete surface.

Compatible epoxy putty shall only be used to fill voids, smooth surface discontinuities and treat minor imperfections prior to the application of other materials.  Rough edges or lines of cured putty shall be ground smooth prior to proceeding with the installation.  The putty shall have rapid strength gain characteristics which enable over-bonding to be carried out after a short time and shall be capable of being applied in thin layers where required.

Prior to applying the adhesive or the saturating resin the primer and putty filler shall be allowed to cure for the required period in accordance with the material manufacturer’s specified requirements, to ensure satisfactory adhesion at the interface of the two materials.  Where the primer and putty filler are completely cured, additional surface preparation may be required prior to the application of the saturating resin or adhesive consistent with the FRPC strengthening system compatibility requirements.

(d)	Mixing of Resins

The mixing of resins shall be in accordance with the FRPC system manufacturer’s recommended procedures including recommended batch sizes, mix ratios, mixing methods, mixing times, current material safety data sheets, and as specified in this section.  The temperature of all resin components shall be between 10°C and 30°C at the time of mixing.  Resin and hardeners shall be mixed together in accordance with manufacturer’s recommended proportions and required mixing times until there is a uniform, homogeneous mixing of components and colour streaks are eliminated.  No excess material shall be left in the individual component containers.

Resin components shall be mixed using slow speed electrically powered mixing paddles. All mixed resin shall be used within the  specified pot life.  Any resin remaining at the end of the specified pot life shall be discarded.  Scales or volumetric equipment used shall be calibrated at 3-monthly intervals.

(e)	Drying and Curing Requirements

The Contractor shall adhere to the manufacturer’s instructions regarding drying and curing requirements, re-application time intervals for adhesives and other resins, and prevailing weather conditions.

(f)	Environmental Conditions

FRPC strengthening systems shall not be applied under any one or more of the following conditions:

(i)	windy conditions where over spray and/or spatter may be generated

(ii)	when wind-borne debris is likely to contaminate the uncured surface of the freshly applied coating

(iii)	when the ambient temperature exceeds 30°C or is below 5°C unless otherwise agreed to in writing by the manufacturer

(iv)	when the concrete surface temperature exceeds 35°C;

(v)	when the concrete surface temperature is below 8°C unless an appropriate heating method is in place

(vi)	when the surface temperature of the substrate is less than 3°C above the dew point calculated in accordance with AS 2312 (Fig. 8.1)

(vii)	when the relative humidity exceeds 85% unless an appropriate drying method is in place

(viii)	when rain spatter or run-off, including leakage through deck joints, contaminating the surface and adversely affecting the adhesion to the substrate, may occur		(ix)	when the moisture content of the concrete or cementitious repairs exceeds 10%

(x)	when the surface moisture condition of the concrete is not dry and it does not satisfy the manufacturer’s recommendations.

The environmental conditions shall be measured, recorded and assessed against the above requirements once every four hours of each shift.  A calibrated commercially available hygrometer (psychrometer) or electronic climatic measuring gauge shall be used to determine the parameters which require readings (i.e. items (i), (iii), (iv), (v), (vi) and (viii)).

If any of the prevailing on-site environmental conditions stated in this clause retard the curing and strength development of the adhesive, the Contractor shall implement accelerated curing measures, which shall include as a minimum the use of heating enclosures, covering with heating blankets and preheating of the adhesive prior to mixing, to ensure timely setting and satisfactory curing and strength development of the adhesive.

(g)	Application of Plates, Laminates or Strips

The bonding surface of the FRP plate, laminate or strip shall be thoroughly cleaned and where required abraded lightly as per the manufacturer’s recommendations prior to application.  Where cutting of the FRP laminate is required, it shall be installed securely to prevent any longitudinal splitting.

The adhesive shall be applied to the prepared bonding concrete surface immediately after mixing as a thin layer by means of a notched steel trowel or equivalent.  The adhesive shall cover the whole of the bonding area and shall be maintained at a thickness in the range of 1 mm to 2 mm.  A further adhesive layer shall be applied to the cleaned and fully dried FRP plate, laminate or strip to form a dome profile across the plate with 3 mm of adhesive material in the centre and 1 mm on the edges.

The FRP plate, laminate or strip shall be brought into contact and lightly pressed with the fingers onto the prepared bonding area.  The FRP material shall be further pressed on with a hard rubber roller until the extra adhesive is squeezed out along the sides.  The roller pressure shall be applied from the centre going to the outer edge such that no voids are formed between the laminate and the concrete substrate surface.  The excess adhesive shall be removed.  The layer thickness of the final adhesive along the bond line of the laminate shall be a minimum of 1.5 mm and a maximum of 3 mm.

Adhesive residues on the laminate surface shall be removed with a compatible chemical remover prior to hardening.

Where required, additional parallel FRP plates, laminates or strips shall be applied at a minimum distance of 5 mm from the adjacent FRP material.

No lapping of FRP plates, laminates or strips is allowed.

If the FRP plate, laminate or strip requires temporary support during curing the FRPC system shall be fully cured before the support is removed.

(h)	Application of Fabric Sheets

The saturating resin or bonding adhesive shall be uniformly applied at the coverage rates specified in the material manufacturer’s data sheet to saturate the concrete surface using hand-held foam roller, brush or scraper to ensure adhesion of the fabric material.  The fabric sheets shall be cut to the prescribed sizes using suitable cutters.  The FRP fabric sheets shall be applied to the resin-saturated concrete surface by pressing manually onto the adhesive such that it is stretched in order to avoid wrinkles or the introduction of voids.  The surface of the fabric shall be rolled over the backing paper to force the impregnation of the resin into the fabric material.  Rolling shall be in the longitudinal direction of the fibres along the centreline and working outwards to expel excess adhesive at the edges to ensure the removal of any entrapped air and produce an even adhesive line.  Any backing paper or other protective layer shall then be peeled away.

Where subsequent layers of saturation resin are required as part of the FRPC strengthening system design, the Contractor shall allow the specified minimum time to elapse before applying the second coat of resin in accordance with the material manufacturer’s data sheet.  The time between mixing and application of the saturation resin shall be in accordance with the material manufacturer’s data sheet.

Where FRP fabric sheets are lapped the minimum overlap in the longitudinal fibre direction, shall be 300 mm.  Additional resin shall be applied to the outer surface of the fabric layer to be overlapped.  No lapping in the lateral fibre direction shall be allowed. Any lifting or delamination that occurs during the application period shall be corrected by pressing the fabric sheet using a foam roller or spatula.

Where multiple layers of FRP fabric sheet are required as part of the design of the FRPC strengthening system, these shall be applied in accordance with the material manufacturer’s recommendations, data sheet, and as specified in this section.

HP	Where the resin is factory applied or it is applied onto the fabric on site using hand held foam rollers, brushes or impregnation machines prior to application, additional procedures on how the installation shall be supported shall be submitted to the Superintendent for review.

(i)	Application of Near Surface Mounted (NSM) FRP Rods or Strips

(i)	Saw Cutting of Grooves

Grooves for NSM FRPC shall be saw-cut in a straight line and to the dimensions as shown on the drawings.  The Contractor shall implement controls such that the grooves are cut in a straight line.  The tolerances for saw cutting of grooves shall be as follows:

(1)	Depth and width of groove 0 to + 2 mm

(2)	Longitudinal line tolerance of the groove, ±5 mm in plan view.

The Contractor shall take care to avoid existing steel reinforcement and shall verify that there is adequate cover to existing steel reinforcement for the nominated groove depths by using a commercially available concrete cover meter.  The cover meter shall be supported with a current calibration certificate and shall be capable of detecting the presence of reinforcement and indicating the depth from the concrete surface to the nearest point on the surface of the reinforcement with an accuracy of ±1 mm at a depth of 25 mm.

The Contractor shall avoid existing steel reinforcement by adjusting groove locations subject to prior consultation with the Superintendent’s Representative.

Any redundant grooves shall be filled to the full depth with an epoxy adhesive in accordance with the requirements of Clause 688.04.

Where steel reinforcement has been damaged the Contractor shall undertake a structural assessment to evaluate the damage and submit a rectification proposal.  The structural assessment shall be undertaken by the Designer of the strengthening system.  The effect of the damaged reinforcement shall be subject to Proof-Engineering.  Both the Designer and the Proof-Engineer shall be pre-qualified at Structures Complex level under the VicRoads Pre-qualification Scheme or approved by Superintendent.

The Contractor shall take care to avoid shallow grooves.  Any shallow grooves shall be rectified by further saw cutting or chiselling to the required depth.

(ii)	Installation of Adhesive and FRP Rods or Strips

After priming, an initial portion of the epoxy adhesive shall be placed into the prepared and clean groove to approximately mid-depth.  The FRP rod or strip shall be pressed into the adhesive followed by the remainder of the adhesive to fill the groove, while ensuring that the rod or strip is fully enveloped.  The adhesive surface shall be levelled, evenly finished and consolidated with a purpose built trowel such that any entrapped air bubbles are expelled.  The NSM FRPC bonding operation shall be completed within the allowable working time of the adhesive.

The Contractor shall ensure that the NSM FRP rods or strips are centred within the groove such that a minimum of 3 mm adhesive thickness is left between the rod or strip and the sides and bottom of the groove.

The Contractor shall ensure that the required surface preparation and roughness, cleanliness and drying out of the grooves is provided in accordance with the requirements of Clause 688.05(a) such that the required mechanical interlock between the adhesive and the concrete substrate is achieved.  Dust and other contaminants shall be removed from the grooves immediately prior to filling with adhesive to prevent any adverse effects on the bond strength along the sides or bottom of the groove.

The adhesive shall be well mixed to the correct proportions with the correct equipment in accordance with the requirements of Clause 688.05(b) and (c) and shall be placed into the groove within the allowable gel or working time ensuring that air voids are eliminated.

If any of the prevailing on-site environmental conditions stated in Clause 688.05(f) retard the curing and strength development of the adhesive, the Contractor shall implement accelerated curing measures, including use of heating enclosures and preheating the adhesive resins, to accelerate strength development and prevent traffic-induced vibration effects on the NSM FRPC strengthening system.

(j)	Anchorage and Steel Protection Requirements

Where required, anchorage shall be provided as detailed on the drawings.

Fibre anchors shall not be fabricated on-site and shall be manufactured and delivered directly from the manufacturer.

Fabrication and protective treatment of steel anchorage plates and bolts used as part of FRPC strengthening systems shall comply with the requirements of Section 630 and Section 631.

Carbon based FRP materials shall be isolated from galvanised or non-galvanised steel anchorages, steel reinforcement, steel bolts and other steel components such that galvanic corrosion is avoided.

Isolation measures shall include the application of a 0.5 mm to 1 mm thick layer of epoxy coating, the placement of a non-conductive layer of glass fibre reinforced polymer (GFRP) fabric or the placement of a cementitious mortar as appropriate.

688.06	TRIAL SYSTEM APPLICATION

A trial application of the complete FRPC strengthening system shall be conducted on a test area of the actual substrate for each type of concrete surface of not less than 1.5 m², fourteen (14) days prior to the commencement of permanent FRPC strengthening installation works.

HP	The Contractor shall not proceed with the permanent FRPC strengthening installation works until the trial system applications have been carried out and the outcomes reviewed and approved by the Superintendent.

The test area shall be prepared and strengthened by the Contractor to satisfy all the requirements of the material manufacturer’s recommendations and this specification.  Selection of a suitable test areas are to be approved by the Superintendent.

As a minimum the concrete surface of the test area shall be prepared in accordance with the requirements of Clause 688.05(a).  The surface layer of the concrete shall be removed to expose small particles of well-bound aggregate such that the roughness to be achieved lies between an amplitude of 0.5 mm to 1 mm, with a surface presenting similar to 60-grit sandpaper.  The surface shall not be roughened excessively.

The trial FRPC strengthening applications including testing shall prove the adequacy of the Contractor’s proposed materials and methods to the satisfaction of the Superintendent.  Actual coverage rates of adhesives and other resins shall be recorded, in order that due allowance may be made in the full-scale application for rough, irregular or highly absorbent concrete substrate.  Additional requirements or observations shall be recorded and considered for the full-scale application.

If the trial application is successful, the FRPC strengthening system shall be utilised in the works.

If the trial application is deemed by the Superintendent not to comply with the requirements of the specification, a new trial application shall be made until the performance criteria of this section, including the requirements of Clauses 688.05, 688.08 and 688.09, are satisfied.

In the event that the trial application is rejected, the Contractor shall remove and dispose of any work deemed as unacceptable by the Superintendent, submit a new proposal to rectify the deficiencies and repeat the trial application as described above.  Any delays caused through rejection shall not constitute a basis for additional payment and/or an extension of time.

688.07	CONTRACTOR COMPETENCY

The FRPC system installation Contractor or sub-contractor and installation personnel shall have a minimum of 5 years experience in the repair and rehabilitation of reinforced concrete structures and a demonstrated competency for surface preparation and application of the FRPC system to be installed.  Such experience shall be supported with documented evidence of previous experience including previous projects and relevant references.

The Contractor shall also provide documented evidence from the FRPC system manufacturer demonstrating that the Contractor’s application personnel are adequately trained and skilled in the installation procedures of the FRPC system to be installed.

The FRPC system installation supervisor shall be trained and qualified in all aspects of the applied techniques and shall be present at each stage of both the trial and permanent FRPC strengthening installation works.

688.08	INSPECTION AND TESTING

(a)	General

The Contractor shall undertake all inspection and testing of the installed FRPC strengthening system with calibrated equipment as specified in this clause.  The Contractor shall maintain all required documentation and results as specified in this section and Section 160 for all stages of the work.

The work shall be inspected by the Contractor at each stage of the FRPC strengthening operation as a minimum, i.e. after surface preparations, mixing of materials, prior to and after adhesive and resin application and any touch-up that may be required and both during and after installation of FRP plates, laminates, strips or fabric sheets.

For the purpose of surveillance and audits as specified in Section 160, the Contractor shall give the Superintendent five (5) days written notice of its intention to carry out repair or strengthening works and shall provide adequate access to enable surveillance of the works by the Superintendent.

(b)	Testing for Drummy Areas

A visual inspection of the FRPC works shall be conducted immediately after installation is complete and any defects recorded.  The cured FRPC strengthening system shall also be visually inspected and checked for delaminations, air voids, and bubbles between multiple layers or between the FRP material and the concrete, 7 days after completion of installation.

The drummyness test shall be conducted along the whole length of each applied FRP plate, laminate, strip, rod or fabric sheet using a small hammer (or similar).  Areas where the FRP material has not bonded correctly to the concrete or to subsequent layers will be characterised by a ‘drummy’ or hollow sound.

Delamination size, location, and quantity relative to the overall application area shall be recorded and evaluated with respect to structural integrity and durability of the FRPC system.  Small delaminations less than 25 mm x 25 mm do not require corrective action provided the total delaminated area is less than 5% of the FRPC strengthened area and provided that there are no more than 5 such delaminations per 1 m².  Where these requirements are not complied with, the effective delaminated area shall be considered as a large delamination area and repaired in accordance with the requirements of Clause 688.09.  Individual or isolated delaminations, air voids or bubbles larger than 25 mm x 25 mm shall be marked and repaired in accordance with the requirements of Clause 688.09.

Notwithstanding the requirements of this clause no delaminations shall be permitted within 300 mm of the termination of FRP plates, laminate, strip, rod or fabric sheets.

(c)	Testing for Flatness

The evenness of FRP plates, laminate, strip or fabric sheets shall not deviate by more than 4 mm when checked with a 2 m straightedge.  In addition, evenness shall not deviate by more than 1 mm when checked with a 300 mm straightedge.

Where the requirements of this sub-clause are not complied with, additional FRP plates, laminates, strips or fabric sheets shall be fixed in locations as approved by the Superintendent.

(d)	Adhesion (Pull-Off) Testing for FRP Plates, Laminates or Strips and Fabric

The Contractor shall conduct partially cored direct pull-off tests of the fully cured FRPC system on sacrificial extensions of the permanent works to verify the tensile bond between the FRP material and the existing concrete substrate, 7 days after the completion of installation.  The sacrificial extension of the FRP material shall be installed at the same time and under the same application conditions as the permanent works in accordance with the requirements of this section. The Contractor shall obtain approval from the

designer for the test locations.

The pull-off testing shall be undertaken in accordance with the requirements of AS 1012.24 using 50 mm diameter aluminium dollies only.  Dollies with a diameter smaller than 50 mm shall not be allowed.  Testing for FRP plates, laminates or strips shall be carried out at a frequency of three (3) tests per each 50 lineal metre run or part thereof of FRPC strengthened area.  Testing for FRP fabric sheets shall be carried out at a frequency of three (3) tests per 5 m² of FRPC strengthened area.  The mean bond strength at 7 days shall be greater than 1.5 MPa, provided no individual result is below 90% of 1.5 MPa.

The mode of failure of the pull-off test shall be in the concrete substrate.  Mean bond strengths less than 1.5 MPa or failure between the FRP system and the concrete substrate or between layers of FRPC shall be raised as a non-conformance for approval by the Superintendent.

After the pull-off test is complete the cored holes shall be filled and smoothed with a polymer modified cementitious material in accordance with Section 689 or with the FRPC system putty filler in accordance with Clause 688.04(b).

(e)	Testing and Inspection of Near Surface Mounted (NSM) FRP Rods or Strips

Testing and inspection of NSM rods or strips shall be as follows:

- Undertake the adhesion (pull-off) test directly over the NSM FRP rod or strip area in accordance with test method AS 1012.24, with coring into the epoxy adhesive and surrounding concrete of up to 15 mm for the subsequent bonding of the 50 mm diameter aluminium dolly.

- Testing for NSM FRP rods or strips shall be carried out at a frequency of three (3) tests per each 50 lineal metre run or part thereof of FRPC strengthened area.  The mean bond strength at 7 days shall be greater than 1.5 MPa, provided no individual result is below 90% of 1.5 MPa.

(iii)	Upon completion of the adhesion (pull-off) test undertake a visual inspection of the dolly to visually verify the bond and integrity of the fractured concrete onto the sides of the split epoxy adhesive surfaces.

(iv)	Visually verify the presence of any voids on the split surfaces of the epoxy adhesive both in situ and on the dolly.  If voids are observed the work represented by the sample may be rejected and the Contractor shall take additional measures as required to improve the placement and consolidation of the of the epoxy adhesive into the groove.

(v)	A 50 mm diameter core shall be extracted from within the sacrificial extension to the full depth of the NSM FRP rod or strip installation, at the sampling frequency as specified in Clause 688.08(e)(ii) to visually verify the consolidation of the resin adhesive around the NSM FRP rods or strips and the sides of the groove.  If voids or unsatisfactory consolidation or bond is observed the work represented by the sample may be rejected and the Contractor shall take additional measures as required to improve the placement and consolidation of the epoxy adhesive into the groove.

Visual inspection and measurement shall verify if the FRP rods or strips are centred within the groove and if a minimum of 3 mm adhesive thickness is left between the NSM FRP rod or strip and the sides and bottom of the groove, in accordance with the requirements of Clause 688.05(i)(ii).

(f)	Compressive Strength of Adhesives and Resins

The Contractor shall take three (3), 75 mm test cubes from the first batch of material mixed, then three (3), 75 mm cubes for every 100 kg of material used thereafter to test for compressive strength.  The cubes shall be cured for 7 days as per the material manufacturer’s recommendations.  Two (2) cubes shall be tested at 7 days and the third cube at 28 days, to confirm compliance with the minimum compressive cube strengths as

specified in Clause 688.04(b).  Test cubes shall be made, cured and tested in accordance with BS 6319.

Test cubes shall be made in rigid steel moulds which are provided with a rigid steel cover plate of similar dimensions to the base plate of the mould.

Following placement of the mixed adhesive or resin into the mould and striking of the surface, the cover plate shall be placed and fully restrained by use of clamps or screws.

Test cubes smaller than 75 mm shall not be allowed for compressive strength testing of adhesives and resins.

(g)	Adhesive Bond Line Thickness of FRP Plates, Laminates and Strips

The layer thickness of the final adhesive along the bond line of FRP plates, laminates and strips shall be measured to confirm a minimum thickness of 1.5 mm and a maximum thickness of 3 mm in accordance with the requirements of Clause 688.05(g).

688.09	SYSTEM REPAIRS

HP	Should any of the FRPC strengthening system application work not comply with the provisions of this specification then the areas concerned shall be repaired to the satisfaction of the Superintendent.  Such repair work may include removal of the FRPC areas concerned, followed by surface preparation and application of new layers of FRP material or NSM FRP rods.  The procedure for any repair work shall be reviewed by the Superintendent.

For the purpose of this clause, non-complying work shall include delaminations, air voids or bubbles larger than 25 mm x 25 mm.

Large delaminations greater than 300 mm x 300 mm shall be repaired by selectively cutting away the affected FRP material, followed by surface preparation and application of overlapping FRP layers.

Delaminations, air voids or bubbles greater than 25 mm x 25 mm in size but less than 300 mm x 300 mm shall be repaired by either resin injection or FRP layer replacement in accordance with this clause.

Wrinkling of the FRP material or broken fabric shall be repaired by the application of additional layers in accordance with this clause.

Any area of the FRPC system damaged by the Contractor during its operation shall be made good in accordance with this clause.

688.10	SEALING OF CRACKS

The Contractor shall repair cracks by pressure injection of low viscosity epoxy resin to both the FRPC strengthened and non-strengthened surfaces of the specified works in accordance with the requirements of Section 687, as follows:

(a)	cracks of width equal to or greater than 0.10 mm for all pre-cast pre-stressed concrete elements

(b)	cracks of width equal to or greater than 0.20 mm for reinforced concrete elements, except that for reinforced concrete elements located in marine and other saline environments epoxy injection shall be for all cracks of width equal to or greater than 0.10 mm.

688.11	APPLICATION OF DECORATIVE/ANTI-CARBONATION COATING

The Contractor shall apply two coats of a decorative/anti-carbonation coating to a total minimum dry film thickness of 150 micron, to both the FRPC strengthened and non-strengthened surfaces of the specified works in accordance with the requirements of

Section 686.  The coating shall extend 500 mm onto the concrete surface beyond the FRPC strengthening.

Application of decorative/anti-carbonation coating shall not be required for FRPC applications on the top surfaces of bridge decks.

The decorative/anti-carbonation coating shall be alkali resistant and shall be suitable for use on FRP material surfaces.

688.12	FIRE AND ELEVATED TEMPERATURE EFFECTS

Protection against elevated temperature and fire effects shall be as shown on the drawings and as stated in the specification.  Where required fire protection coatings and thermal barriers shall be used to reduce fire effects and elevated temperatures on FRPC strengthening.  Insulating barriers may include spray applied cementitious plaster, cement based fire resistant mortars with special formulations and gypsum based plasterboard or plates.

688.13	TRAFFIC CONTROL MEASURES

Traffic control measures shall be implemented to facilitate the FRPC strengthening works and prevent any traffic induced vibration effects during the bonding operation.

A traffic management plan (TMP) shall consider the following traffic control measures to ensure compliance with the requirements of this section when it is not possible to close the structure to traffic:

(a)	reduction in traffic speed limits (i.e. 100 km/h down to 80 km/h, 60 km/h, 40 km/h etc);

(b)	temporary lane closures directly above the work in accordance with the TMP while doing FRPC or crack repair work;

(c)	reducing the number of traffic lanes;

(d)	distance of live traffic from the location of the actual works;

(e)	required period of traffic control measures and removal time (i.e. how many hours after application of adhesive); and

(f)	reduction in traffic load limits.

688.14	WORK METHOD STATEMENT AND INSPECTION AND TEST PLANS

The Contractor shall submit a detailed work method statement (WMS) and inspection and test plans (ITPs) for the specific FRPC strengthening works and bonding operation and associated works.  The WMS and ITPs shall reference all specification clauses and identify all performance requirements and hold points.  Generic or incomplete WMSs and ITPs shall not be allowed.

The Contractor shall provide documented evidence of conducting tool box meetings of all FRPC application personnel on all aspects of the WMS, the ITPs and specification requirements, including sampling and testing, immediately prior to the commencement of installation of the FRPC strengthening system.

HP	The Contractor shall not proceed with the trial system application or the permanent FRPC strengthening installation works until the WMS and ITPs have been reviewed and approved by the Superintendent.

688.15	SPECIFIC REQUIREMENTS FOR FRPC STRENGTHENING OF CONCRETE BRIDGE DECKS

Prior to undertaking design and installation works for FRPC strengthening of concrete bridge decks, the Contractor shall undertake an investigation to determine both the depth of concrete cover to the steel reinforcement and the thickness of the existing asphalt, as affected by any variability that may exist in shape and profile of the concrete deck.  These measurements shall be allowed for in both the design and installation of the FRPC strengthening system.

Such measurements shall be undertaken at 3 metre intervals and within a 3 metre grid over the whole area to be strengthened and over the whole area where cold milling (cold planing) of asphalt may be required.

The depth of concrete cover to the steel reinforcement shall be determined by using a commercially available concrete cover meter.  The cover meter shall be supported with a current calibration certificate and shall be capable of detecting the presence of reinforcement and indicating the depth from the concrete surface to the nearest point on the surface of the reinforcement with an accuracy of ±1 mm at a depth of 25 mm.  The thickness of asphalt shall be determined by taking 25 diameter cores through to the top surface of the concrete deck.

Where cold milling is required, a milling procedure and ITP shall be submitted a minimum of 7 days prior to the commencement of cold milling of asphalt over the concrete bridge deck, allowing for the planned base of cut to the top surface of the concrete deck.  The milling procedure shall include details on the type, mass and number of milling machine(s) and other equipment to be used and the proposed measures to control dynamic effects and proposed measures to avoid cutting damage to the concrete surface and steel reinforcement.

Nil tolerance shall apply on the depth of milling cut to the surface of the concrete deck.  No grooving of the concrete surface shall be allowed.

A milling machine with fine milling drum shall be used on concrete bridge decks.

During the cold milling operation all necessary precautions shall be taken to prevent the cutting teeth from contacting the concrete surface.  The actual depth of cut shall be measured on both sides of the cold milling machine at intervals not exceeding 3 metres.

All milling work shall be subject to continuous observation for variability or change in cut surface appearance and all observations documented.

In the event that the cutting teeth contact the concrete surface the progress of the cold milling machine shall cease immediately, any machine fault repaired and the machine settings and controls readjusted.

Milling operators shall have adequate training and experience in the operation of the cold milling machine and automatic sensing equipment.  Relevant experience and training records of each operator shall be submitted to the Superintendent for review prior to the commencement of work on site.

During milling operations the Contractor shall provide three suitably trained and skilled milling machine operators at the cold milling machine at all times, one on the driving platform and one on each side of the machine generally in the vicinity of the sensor/cutting mandrel.

At the completion of cold milling, all loose milled material shall be removed and the concrete surface prepared in accordance with the requirements of this section.

688.16	PROTECTION OF WORKS AND PROPERTY AND CLEAN UP

(a)	Protection of Works/Property

The Contractor shall protect already completed works during abrasive blasting operations or any other surface preparation process and during FRPC system application processes.

The Contractor shall ensure that the FRPC works are protected from adverse conditions, dust and debris during the curing period of the FRPC system in accordance with the requirements of Clause 688.05(e).

The Contractor shall undertake suitable protective measures and methods during the installation of the FRPC system to ensure that vehicles and pedestrians are adequately protected from these works.  The proposed protective measures or methods being used shall be submitted to the Superintendent for approval, a minimum of two working days in advance of the proposed works.

(b)	Environmental and Occupational Health and Safety Requirements

The Contractor shall remove all adhesive residues, droppings and smudges from all surfaces, including surfaces not being treated.  The Contractor shall remove from the site all spent abrasive and all other rubbish accumulated during the work on a daily basis.

The Contractor shall dispose of such wastes and shall adhere to EPA and other local, state and federal government requirements with respect to how waste generated during surface preparation, FRPC system application, and clean up will be collected, segregated, handled, controlled and disposed of.

All relevant requirements of the Work Health and Safety Act and Regulations 2012 shall be satisfied with respect to all formwork.

(c)	Disposal of Waste Materials

Waste materials including liquid wastes shall be deposited in suitable containers and disposed of at sites to be located by the Contractor that are acceptable to the EPA and other relevant authorities.

Liquid or other waste material shall not contaminate creeks, waterways or stormwater drainage.

(b)	Environmental and Occupational Health and Safety Requirements

The Contractor shall remove all adhesive residues, droppings and smudges from all surfaces, including surfaces not being treated.  The Contractor shall remove from the site all spent abrasive and all other rubbish accumulated during the work on a daily basis.

The Contractor shall dispose of such wastes and shall adhere to EPA and other local, state and federal government requirements with respect to how waste generated during surface preparation, FRPC system application, and clean up will be collected, segregated, handled, controlled and disposed of.

All relevant requirements of the Work Health and Safety Act 2012 and Work Health and Safety Regulations 2012 shall be satisfied with respect to all formwork.

(d)	Disposal of Waste Materials

Waste materials including liquid wastes shall be deposited in suitable containers and disposed of at sites to be located by the Contractor that are acceptable to the EPA and other relevant authorities.

Liquid or other waste material shall not contaminate creeks, waterways or stormwater drainage.

# Text boxes

Department of State Growth – August 2019

Section 688 (Page 1 of 17)

Department of State Growth – August 2019

Section 688 (Page 2 of 17)

Department of State Growth – August 2019

Section 688 (Page 3 of 17)

Department of State Growth – August 2019

Section 688 (Page 4 of 17)

Department of State Growth – August 2019

Section 688 (Page 5 of 17)

Department of State Growth – August 2019

Section 688 (Page 6 of 17)

Department of State Growth – August 2019

Section 688 (Page 7 of 17)

Department of State Growth – August 2019

Section 688 (Page 8 of 17)

Department of State Growth – August 2019

Section 688 (Page 9 of 17)

Department of State Growth – August 2019

Section 688 (Page 10 of 17)

Department of State Growth – August 2019

Section 688 (Page 11 of 17)

Department of State Growth – August 2019

Section 688 (Page 12 of 17)

Department of State Growth – August 2019

Section 688 (Page 13 of 17)

Department of State Growth – August 2019

Section 688 (Page 14 of 17)

Department of State Growth – August 2019

Section 688 (Page 15 of 17)

Department of State Growth – August 2019

Section 688 (Page 16 of 17)

Department of State Growth – August 2019

Section 688 (Page 17 of 17)