SECTION 176	-	ENVIRONMENTAL MANAGEMENT

This section specifies the minimum environmental management obligations relating to the work to be constructed under this Contract.  Additional contract specific requirements may be included in Section  160.

PART A	-	ENVIRONMENTAL MANAGEMENT

PART B	-	WATER QUALITY

PART C	-	AIR QUALITY

PART D	-	EROSION AND SEDIMENT CONTROL

PART E	-	CONTAMINATED SOILS AND MATERIALS

PART F	-	WASTE AND RESOURCE USE

PART G	-	FUELS AND CHEMICALS

PART H	-	NOISE

PART I	-	FLORA AND FAUNA

PART J	-	CULTURAL HERITAGE

PART K	-	REPORTING

PART A  -  ENVIRONMENTAL MANAGEMENT

176.A1	INTRODUCTION

Works under the Contract shall be undertaken so that impacts on the environment are avoided or minimised.  The Contractor shall ensure that the environmental objectives and measures outlined in the relevant State and Federal legislation are complied with.  Where different objectives are nominated, the more stringent requirement shall be adopted.

The Contractor shall prepare a project specific Environmental Management Plan, which shall form part of the Contractor’s Management Plans, for the management of activities that impact on the environment in accordance with the requirements of this section.

176.A2	DEFINITIONS

Ancillary Work Area – an area outside the Limit of Works that is used by the Contractor to support the delivery of the project.  This may include but is not limited to the establishment of site compounds, borrow areas and temporary sedimentation basins and temporary works.

Contaminated Material – the presence of any chemical substance or waste that exists above the natural background level of the land or water and represents, or potentially represents, an adverse health or environmental impact.

Cultural Heritage – protected objects and protected sites as defined in the Aboriginal Heritage Act 1975 and heritage areas and places of historic cultural heritage significance as defined in the Historic Cultural Heritage Act 1995, including but not limited to, Aboriginal artefacts, scarred trees, burial sites, and historic bridges and buildings.

Environmental Incident –has the same meaning as specified in the Conditions of Contract.

Noise Sensitive Receptors – dwellings that may be affected by construction noise during the day such as aged persons homes, hospitals, schools, kindergartens, libraries and other noise sensitive community buildings.

Rain Event – when rainfall results in an offsite discharge, and/or when onsite construction activities are ceased due to rain, and/or rainfall that is equal to or greater than the Rainfall Intensity Chart attached as Attachment A to this Section 176.

Waterway – means a water resource as defined in the Water Management Act 1999

Watercourse – as defined in the Water Management Act 1999

176.A3	ENVIRONMENTAL MANAGEMENT PLANS

The Contractor shall be responsible for the preparation, implementation and other arrangements associated with the Environmental Management Plan (EMP).  The EMP shall /;l include, as a minimum:

(a)	a statement of scope, purpose and environmental objectives

(b)	a schedule of environmental elements that are expected to be affected by the WUC including an outline of proposed mitigation treatments and proposed timeframes

(c)	the identification of work activities and an assessment of their potential impacts and associated risks to onsite and offsite environmental receptors (e.g. community, land uses, watercourses, flora and fauna, cultural heritage, etc.) including times when the Contractor is not on site, including but not limited to matters covered in this specification

(d)	processes and responsibilities for -

•	the implementation, onsite review and maintenance of EMP and associated controls

•	reporting and investigation of an Environmental Incidents or complaints relating to any environmental issue under the Contract in accordance with clause 11C.3 of the Conditions of Contract

•	an adaptive approach for the review and update of the EMP as works progress and/or following non-conformances, complaints, or previously unidentified issues

•	after hours response including arrangements for containing environmental damage and attendance on site in the event of an emergency

(e)	legal and other requirements - details of approvals, licences and permits necessary to meet statutory requirements and associated conditions

(f)	competence, training and awareness - an induction and training plan to ensure that all site personnel (including subcontractors) understand the EMP and are aware how the EMP is to be implemented in relation to the works, including any possible emergency response procedures

(g)	operational control – the EMP shall document environmental procedures to manage all identified impacts and environmental protection requirements.  These procedures shall include inspection and monitoring

(h)	scaled drawings that clearly show the location and extent of environmental controls, modifications to existing control devices and monitoring locations

(i)	emergency preparedness and response - an emergency response procedure shall include processes for managing any environmental emergency on-site, such as contacting relevant stakeholders and clean-up of the Site

(j)   include the following statement regarding responding to an Environmental Incident,

- Immediate action shall be taken to avoid continuance of the incident (which may include cessation of work), and to minimise the effect of the incident on the environment.

- The Superintendent, the Pollution Incidents and Complaints Hotline (Tel. 1800 005 171) and other responsible authorities shall be immediately notified of the incident or, if the incident occurs outside of working hours, by 9am the next working day.

- An incident report submitted to the Superintendent (within 5 days) of the Environmental Incident in accordance with clause 11C.3 of the Conditions of Contract must include photographs where available and the proposed corrective action to avoid a re-occurrence. .

(k)	nonconformity, environmental incidents and corrective and preventative action procedures

(l)	audit - a documented process for audit of the EMP against the contract requirements, including the effectiveness of on-site environmental protection measures.

An independent audit of the Environmental Management Plan shall be completed prior to the commencement of Works.

176.A4	TRAINING

Prior to commencement of works onsite, the Contractor shall ensure that all personnel are informed of the environmental issues and specific risks associated with the project and the required management and mitigation measures to address these risks.

Prior to commencement of works onsite, the Contractor shall ensure that personnel directly involved in the implementation of the EMP and the installation and maintenance of control measures for this contract:

•	have demonstrated competence and suitable experience in environmental management in a construction environment; or

•	have successfully completed a nationally accredited training course which addresses management practices for erosion and sediment control (Green Card or equivalent).

PART B  -  WATER QUALITY

176.B1	WATER QUALITY

(a)	General

The quality of water in watercourses shall not be detrimentally impacted by runoff from the site.

The quality of ponded water to be dewatered to receiving waterways shall not be greater than 10% above the turbidity of water in the receiving waterways.

***	The pH of ponded water to be dewatered shall be within 1.0 pH unit of the receiving water.

(b)	Monitoring

Water quality and rainfall shall be monitored for the parameters identified in Table 176.B1.01 during all stages of construction to ensure that the water quality in the receiving waterways:

•	does not vary between the upstream and downstream limits of the works site during the period (where upstream results become the background limits), although a variation between results of no more than twice the measurement uncertainty of the instrument will be allowable; or

The Contractor shall possess equipment on site that is capable of providing instantaneous monitoring of parameters as required in Table 176.B1.01.  All equipment associated with monitoring shall be maintained and calibrated in accordance with the manufacturer’s or equipment supplier’s requirements.

Table 176.B1.01  Construction Monitoring

| Parameter | Method |
| --- | --- |
| Turbidity - NTU | Measure with on-site meter |
| Electrical Conductivity (EC) – µS/cm | Measure with on-site meter |
| pH | Measure with on-site meter |
| Dissolved oxygen (DO) – mg/L | Measure with on-site meter |
| Temperature - °C | Measure with on-site meter |
| Litter (definition, including solid inert waste) | Visual (prevent litter from entering waterways and drainage systems) |
| Oils and Greases | Visual (No visible free oil or greases) |

Monitoring shall be carried out in waterways and/or drainage infrastructure upstream and downstream of the limits of the site for each rain event as follows:

•	within one hour of commencement of rain event during working hours

•	every four hours for periods of continuous rain during working hours

•	within 12 hours of a rain event, outside working hours.

(c)	Dewatering

Water quality monitoring shall be undertaken when dewatering ponded water to receiving waterways.

PART C  -  AIR QUALITY

176.C1	DUST

All work under the Contract shall comply with the following requirements:

•	dust generated from road construction activities shall not create a hazard or nuisance to the public, disperse from the site or across roadways, nor interfere with crops and stock or commercial or residential properties or other dust-sensitive receptors

•	emissions of visible smoke from construction plant and equipment shall be for periods no greater than ten consecutive seconds

•	emissions of odorous substances or particulates shall not create or be likely to create objectionable conditions for the public

•	materials of any type shall not be disposed of through burning

•	materials that may create a hazard or nuisance dust shall be covered during transport.

### PART D  -  EROSION AND SEDIMENT CONTROL

176.D1	EROSION AND SEDIMENT CONTROL

The Contractor shall minimise the risk of soil erosion and sediment pollution of the site, adjacent land, and waterways.

The erosion and sediment control management plan shall be developed with reference (but not limited) to the:

- Department of State Growth Site Stabilisation and Landscaping Guideline 2018 and the

- International Erosion Control Association ‘Best Practice Erosion and Sediment Control’ (IECA, 2008).

Further relevant references are Victorian Environment Protection Authority’s publications including:

- Victorian EPA Publication No. 960 ‘Doing it Right on Subdivisions’

- EPA Publication No. 275 ‘Construction Techniques for Sediment Pollution Control’,

- EPA Publication No. 480 ‘Environmental Guidelines for Major Construction Sites’, and

- NSW RTA Guideline for Batter Surface Stabilisation using Vegetation and Erosion and Sedimentation Management Procedures (PN 143P).

General

All exposed surfaces shall be free of or treated to minimise erosion.

Erosion and sediment controls shall include:

•	minimising the amount of exposed erodible surfaces during construction including the staging of works;

•	prompt temporary and/or permanent progressive revegetation of the site as work proceeds (refer Section 720);

***	•	prompt covering of exposed surfaces (including batters and stockpiles) that would otherwise remain bare for more than ##28: days.  Cover may include soil binder, mulch, erosion control mat or seeding with a grass cover crop (refer Section 720);

•	installation, stabilisation and maintenance of catch and diversion drains that segregate water runoff from catchments outside of the construction site from water exposed to the construction site;

•	installation and maintenance of erosion and sedimentation controls, established in accordance with International Erosion Control Association ‘Best Practice Erosion and Sediment Control’ (IECA, 2008) for the treatment of sediment laden run-off resulting from construction activities;

•	adequately control and route runoff within the construction site to the appropriate sedimentation controls; and

•	where trees are required to be removed more than two months in advance of any construction works, remove only that part of the tree that is above ground level and where possible allow the roots to remain intact beneath the ground surface to assist with erosion control.

The Contractor shall inspect all erosion and sedimentation control works at least once per week with additional inspections during a rain event as follows:

•	within one hour of commencement during working hours

•	every four hours for periods of continuous rain during working hours

•	within 12 hours of a rain event outside working hours

•	when runoff is leaving the site.

Any defects and/or deficiencies in control measures identified by monitoring undertaken shall be rectified immediately and these control measures shall be cleaned, repaired and augmented as required to ensure effective control measures thereafter.

176.D2	STOCKPILES

Where soil is stockpiled on site it shall be located no less than 10 metres from watercourses.

176.D3	MUD ON PUBLIC ROADS

The Contractor shall take all steps necessary to prevent vehicles from trafficking and depositing mud and other debris on the surface of adjacent roads when entering and leaving the site.

### PART E  -  CONTAMINATED SOILS AND MATERIALS

176.E1	CONTAMINATED SOILS AND MATERIALS

Soils or materials shall not be contaminated as a consequence of  the WUC and except as specified elsewhere, contaminated material shall not be incorporated into the works.

PART F  -  WASTE AND RESOURCE REUSE

176.F1	WASTE AND RESOURCE REUSE

(a)	General

The generation of waste materials shall be managed in accordance with the hierarchy, of avoid, reuse, recycle or dispose of waste material.  The Contractor shall be responsible for the management of any waste produced in performing the WUC.

Solid inert wastes may be reused when approved by the Superintendent.

The Contractor shall also control the generation of wind blown litter, or litter spread by birds and animals, from disturbed material.  This may include limiting the disturbed area or recovering material.

All vehicles transporting waste shall be covered and appropriately licensed.

(b)	Monitoring

The Contractor shall monitor the whole site for instances of inappropriate waste management or disposal at intervals of not more every 7 days.

PART G  -  FUELS AND CHEMICALS

176.G1	FUELS AND CHEMICALS

(a)	General

Any leakage or spillage of any fuels or chemicals shall not have detrimental environmental impact.

The Contractor shall include specific procedures to mitigate the effect on the environment from fuels and chemicals, including herbicides and pesticides.  Such procedures shall include but not be limited to:

•	nominated fuel and chemical storage areas that comply with the requirements under the Environmental Management and Pollution Control Act 1994, the Explosives Act 2012 and all applicable regulations made under those acts.

•	the refueling and fluid top up of vehicles and plant shall be undertaken at least 20 metres from any drainage point or watercourses

•	provision of readily accessible and maintained spill kits for the purpose of cleaning up chemical, oil and fuel spillages on the Site at all times

•	ensuring that personnel trained in the efficient deployment of the spill kits are readily available in the event of spillages

•	a contingency plan that shall address the containment, treatment and disposal of any spill.

(b)	Monitoring

Fuel and chemical storages and equipment fill areas shall be monitored for compliance at intervals of not more than 7 days.

PART H  -  NOISE AND VIBRATION

176.H1	NOISE

All work under the Contract shall comply with the following requirements:

- construction vehicles and equipment shall have appropriate measures fitted and be effectively maintained to minimise engine noise

•	noisy equipment shall be enclosed where possible

- scheduling noisy work practices (e.g. pile driving) to minimise likelihood of community annoyance; and

•	advise local residents in advance when unavoidable out-of-hours work will occur.

.

176.H2	VIBRATION

(a)	General

All work under the Contract shall be undertaken utilising construction methodologies that will minimise vibration disturbance to the community and avoid damage to buildings and/or structures.

Vibration generated through construction plant and equipment or blasting (Clause 176.H3 – Blasting) shall not de-stabilise the existing ground condition especially if work is carried out in the vicinity of any natural slopes or embankment.

Construction methodologies shall be utilised to ensure that vibration does not exceed the peak vibration criteria in Table 176.H2.01 and/or criteria set by a responsible authority for a specified structure/asset that falls within its responsibility.

(b)	Monitoring

Monitoring shall be undertaken to assess the potential vibration impacts on buildings in accordance with German Standard DIN 4150, part 3 - 1999 (Effects of Vibration on Structures).

Peak vibration velocities shall not exceed the criteria in Table 176.H2.01

Table 176.H2.01  Vibration Criteria for Assessing Potential for Damage to Buildings

| Type of Structure | Peak Vibration Velocity at foundation (mm/s) |
| --- | --- |
| Reinforced or framed structures. Industrial and heavy commercial buildings | 20 |
| Unreinforced or light framed structure. Residential or light commercial type buildings | 5 |
| Structures that because of their sensitivity to vibration do not correspond to those listed above and are of great intrinsic value (e.g. heritage listed buildings). | 3 |

176.H3	BLASTING

(a)	General

The contractor shall undertake blast monitoring to ensure that blasting activities do not pose the potential for damage to surrounding buildings or structures and to minimise disturbance to the community.

The contractor shall ensure that:

•	vibration generated by blasting does not exceed the criteria set out in Table 176.H3.01; and

•	blasting overpressure does not exceed 133 dBL.

(b)	Monitoring

Monitoring of blasting activities shall be undertaken in accordance with Section J.3.2 of AS 2187.2-2006 (Explosives - Storage and use - Use of explosives), at locations relevant to sensitive buildings agreed with the Superintendent.

The peak component particle velocity of predominant pulse shall not exceed the criteria in Table 176.H3.01.

Table 176.H3.01  Transient Ground Vibration Criteria for Assessing Potential for Damage to Buildings

| Type of Structure | Peak Vibration Velocity (mm/s) |
| --- | --- |
| Reinforced or framed structures Industrial and heavy commercial buildings | 50 |
| Unreinforced or light framed structure Residential or light commercial type buildings | 15 |
| Structures that because of their sensitivity to vibration do not correspond to those listed above and are of great intrinsic value (e.g. heritage listed buildings). | 3 |

(c)	Monitoring Results

Monitoring results of blasting for activities shall be submitted to the Superintendent within 24 hours.

PART I  -  FLORA AND FAUNA

176.I1	FLORA AND FAUNA

(a)	General

All work under the Contract shall comply with the following requirements:

•	avoid, minimise and offset (where appropriate) the removal of native vegetation during construction

•	avoid injury to fauna or damage to protected vegetation or habitat

•	protect significant flora and fauna sites, species or habitat not previously identified.

(b)	Permits and Approvals

Permits from relevant authorities shall be obtained prior to disturbance of flora/fauna sites or relocation of native fauna affected by works under the Contract.  Works under the Contract shall comply with all permits and approvals and associated conditions.

(c)	Protection of Flora and Fauna

Areas of existing vegetation and native fauna habitat identified to be retained, shall be identified as ‘No-Go Zones’ and protected by temporary fencing and signage. No Signage is to identify the nature of the ‘No-Go’ zone.

HP	Prior to removing any vegetation or habitat, the Contractor shall arrange an on-site inspection with the Superintendent and other relevant authorities to confirm and clearly identify and mark trees, vegetation or habitat to be removed.  Any removal shall be consistent with the Contract drawings and any relevant permits and shall fence and sign all sites nominated as No-Go Zones.

In addition to the above Hold Point (HP), the Contractor must not install any No-Go Zone fencing or signage or remove any vegetation or habitat as otherwise permitted by the Contract prior to the satisfaction of all Commencement Preconditions and commencement of the WUC.

Plant, equipment, material or debris shall not be placed or stored within the limit of the root zone of the tree or vegetation to be retained.

(d)	Soil Compaction

The Contractor shall avoid trafficking and compacting, or storing materials on soil in all areas that are currently vegetated and those areas to be re-vegetated.

(e)	Monitoring

The Contractor shall undertake monitoring of the condition of flora and fauna habitat sites and protective measures at the site every 7 days.

176.I2	WEED PEST AND DISEASE MANAGEMENT

(a)	General

Declared weeds (listed under the Weed Management Act 1999), prohibited plants (listed under the Poisons Act 1971, including poppies) and pests and diseases (also referred to as pathogens) shall not be introduced to the site, spread through the site, or removed from the site (if present) as a consequence of work under the Contract.

The Contractor shall prevent the spread of declared weeds, prohibited plants, pests and diseases within the site and off-site through the implementation of controls that shall include the:

•	treatment of declared weeds and prohibited plants prior to the commencement of any ground disturbing activities and in response to their identification through monitoring of the site;

- exclude access to, and disturbance of weed infested areas outside of the construction footprint

•	management of declared weeds, prohibited plants listed and soil pathogens potential within imported materials;

•	provisions for cleaning plant and equipment at the following times -

-	prior to arrival on Site

-	prior to departure from Site

-	prior to movement within the Site from infested to non-infested areas.

The Contractor is to;

- ensure compliance with the Weed Management Act 1999 by:

  - applying management practices to ensure declared weeds outside the construction footprint are not further spread

  - ensure that declared weeds listed under the Weed Management Act 1999 are controlled within the construction footprint during the construction phases and the defects liability period.

- ensure that prohibited plants listed under the Poisons Act 1971 (including poppies) are controlled during construction and the defects liability period.

- undertake works in accordance with the following manuals;

  - Keeping It Clean – A Tasmanian field hygiene manual to prevent the spread of freshwater pests and pathogens: https://nre.tas.gov.au/Documents/15130802_52keepingitcleanspreadswe.pdf

  - Tasmanian Washdown Guidelines for Weed and Disease Control, Ed.1 https://nre.tas.gov.au/Documents/Washdown-Guidelines-Edition-1.pdf

  - Weed and Disease Planning and Hygiene Guidelines 2015

https://nre.tas.gov.au/Documents/Weed%20%20Management%20and%20Hygiene%20Guidelines.pdf

(b)	Monitoring

The Site shall be monitored for the presence of weeds and pests.  At intervals of not more than ##(7 days/ 14 days/ other):

### PART J  -  CULTURAL HERITAGE

176.J1	CULTURAL HERITAGE

- General

Cultural heritage sites and areas of cultural significance shall not be damaged, disturbed or otherwise adversely impacted unless an appropriate authorisation has been obtained.

- Permits and Approvals

Permits from relevant authorities shall be obtained prior to disturbance of Aboriginal cultural  sites and/or cultural heritage sites affected by works under the Contract.

(c)	Protection of Cultural Heritage

A ‘No-Go Zone’ shall be established for identified Cultural Heritage sites that are to be protected during the work under the contract.  Temporary fencing of ‘No-Go Zones’ shall be:

•	constructed of, as a minimum, star pickets, single strand of wire at the top and paraweb;

•	located at the maximum practical distance from the site with a minimum of 1 m beyond the limit of the Cultural Heritage site; and

•	retained in place for the duration of the construction period (until Practical Completion), or until removal of the Cultural Heritage from the site.

Signage shall be installed on the temporary fencing at intervals no less than 20 m apart stating ‘Protected Area – No Unauthorised Access’. Any signage must not identify the nature of the ‘No-Go’ zone.

(d)	Discovery of Aboriginal Cultural Heritage

An Unanticipated Discovery Plan is required to ensure appropriate response in the event that an item, site or object of Aboriginal Cultural Heritage is discovered that could not have otherwise been anticipated.

The following is a guide to the most common Aboriginal Cultural Heritage site types in Tasmania and will assist in identifying and managing the unanticipated discovery of Aboriginal Cultural Heritage sites and objects.

Stone Artefact Scatters – A stone artefact is any stone or rock which has been modified by Aboriginal people. Often this is the result of fracturing or ‘flaking’ fine grained rocks to produce sharp cutting or scrapping implements. The most common stone types utilised by Tasmanian Aboriginal people are silcrete and chert, on account of their availability and excellent tool making properties. However we also find hornfels, chalcedony, spongelite, quartzite and other stone types where locally available.

In Tasmania, stone artefacts are typically recorded as being ‘isolated’ (i.e. only one) or in a ‘scatter’ (i.e. two or more within a 50m radius). Stone artefacts are found all over Tasmania, in all landscapes and situations, and are the most basic indicator of Aboriginal occupation.

Shell Middens – Middens are occupational deposits created through an accumulation of debris from human activity. Midden sites can range in size from large mounds to small scatters of shell. The most common shellfish species found in middens in Tasmania are abalone, oyster, mussel, warrener and limpet, however they can also contain other debris such as animal bone, charcoal from campfires and discarded tools made from stone, shell or bone These sites are usually found near waterways and coastal areas.

Rockshelters – Caves and rock overhangs which bear signs of human activity are, for the purpose of the Aboriginal Heritage Register (AHR), collectively called occupied rock shelters. Aboriginal people utilised these places for shelter, ceremony and other cultural practices, leaving behind occupational deposits such as middens and hearths, tools, or in some cases, rock markings. Rock shelters are usually found where the geology is conducive to the formation of caves and rock overhangs.

Quarries or Stone Procurement Sites – A quarry is a place where material has been extracted from a natural outcrop by Aboriginal people. The two types of quarry recorded on the AHR are stone and ochre; each typically being located wherever suitable ochre for painting and decoration, or stone for tool-making appear. Quarries can be recognised by evidence of human manipulation, and by the debris left behind from processing the material. Quarries can be extensive or discrete, depending on the size and quality of the outcrop, and how often it was utilised and visited.

Rock Marking – Rock marking is the term used in Tasmania to define markings on rocks, which are the result of Aboriginal practices. Rock markings come in two forms; engraving and painting. Engravings are made by removing the surface of a rock through pecking, abrading or grinding, whilst paintings are made by adding pigment or ochre to the surface of a rock.

Burials – Burial sites are highly sensitive places. They can occur anywhere, and have previously been recorded in sand dunes, shell middens and rock shelters

(e)	Protection of Values

Areas of nominated archaeological and/or heritage values identified to be retained, shall be identified as ‘No-Go Zones’ and protected by temporary fencing and signage.

HP	Prior to removing any vegetation, the Contractor shall arrange an on-site inspection with the Superintendent and other relevant authorities to confirm and clearly identify the areas of nominated archaeological and/or heritage values to be protected and shall fence and sign all No-Go Zones.

(f)	Unanticipated Discovery Plan

The Contractor shall, as a minimum, comply with the following procedures which are provided as a guide to meeting the obligations established under the Aboriginal Relics Act 1975 and the Coroners Act 1995 in regard to dealing with unanticipated discoveries of Aboriginal Cultural Heritage such as sites and objects.

The first section details the process to be followed should any Aboriginal Cultural Heritage item, site or object be discovered excluding skeletal remains (burials), while the second section details the process should skeletal remains (burials) be discovered.

Discovery of Cultural Heritage Items

Step 1: Any person who believes they have uncovered Aboriginal Cultural Heritage material should notify all employees or contractors that are working in the immediate area that all earth disturbance works must cease immediately.

Step 2: A temporary ‘no-go’ or buffer zone of at least 10m x 10m should be implemented to protect the suspected Aboriginal Cultural Heritage site or relics. No unauthorised entry or works will be allowed within this ‘no-go’ zone until the suspected Aboriginal Cultural Heritage relics have been assessed by a recognised Aboriginal Heritage Practitioner.

Step 3: Aboriginal Heritage Tasmania (AHT) in Hobart (ph 6165 3152) needs to be notified and consulted as soon as possible and informed of the discovery. AHT will then provide further advice in accordance with the Aboriginal Relics Act 1975.

Discovery of Skeletal Material

Step 1: Call the Police immediately. Under no circumstances should the suspected skeletal remains be touched or disturbed. The area must now be considered a crime scene. It is a criminal offence to interfere with a crime scene.

Step 2: Any person who believes they have uncovered skeletal material should notify all employees or contractors that are working in the immediate area that all earth disturbance works must cease immediately.

Step 3: A temporary ‘no-go’ or buffer zone of at least 50m x 50m should be implemented to protect the suspected skeletal remains. No unauthorised entry or works will be allowed within this no-go’ zone until the suspected skeletal remains have been assessed by the Police and or Coroner.

Step 4: Should the skeletal remains be determined to be of Aboriginal origin, the Coroner will contact an Aboriginal organisation approved by the Attorney-General, as per the Coroners Act 1995.

(g)	Monitoring

’No-Go Zones’ are to be monitored at least weekly and immediately prior to and following activities with potential to impact the exclusion area.

### PART K  -  REPORTING

176.K1	REPORTING

(a)	General

All environmental monitoring results and all non-conformance reports relating to environmental performance and current status shall be submitted to the Superintendent.

The Contractor shall submit to the Superintendent copies of the data/information listed in Table 176.K1.01.  This submission shall include both the data for the latest report and a summary of data collected to date under the Contract.

Table 176.K1.01

| Data/Information | Frequency |
| --- | --- |
| Tasmanian Devil Dens | Where the Contractor identifies any potential dens for Tasmanian Devils during works, the Contractor shall notify the Superintendent immediately and seek direction. |
| Pollution Infringement Notices or Pollution Abatement Notices and/or any notices of prosecution. | Within 24 hours of receipt by the Contractor. |
| Statutory documents obtained by the Contractor as part of the project (e.g. permits). | Within one week of receipt by the Contractor. |
| Results of any air quality and water quality monitoring undertaken as part of the project. | ##Monthly / At completion of Works / Other: |
| Itemised fuel (diesel unleaded and LPG) use on-site by contractors and sub-contractors. | ##Quarterly / At completion of Works / Other: |

(b)	Notice of Authority Inspections

The Contractor shall notify the Superintendent immediately should a regulator seek to enter a worksite for any purpose.

ATTACHMENT A TO SECTION 176

RAINFALL INTENSITY CHART

# Text boxes

Department of State Growth – June 2024

Section 176 (Page 13 of 24)

Department of State Growth – May 2021

Sectin 176 (Page 18 of 24)

Department of State Growth – May 2021

Section 176 (Page 19 of 24)

Department of State Growth – May 2021

Section 176 (Page 20 of 24)

Department of State Growth – May 2021

Section 176 (Page 24 of 24)